## Skårby39
Measurement Name | Skårby39 (Normal Range)
Time of run | 2019-04-17 16:10:57 (1555513857)
Duration | 26.68 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0502998 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0413313 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.82322e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 66.5019 | 67.5713 | 66.8753 | 67.2504 | 75.2826 | 73.3875 | 67.5869 | 62.7551 | 60.8404 | 62.5961 | 61.1831 | 62.9563 | 61.3249 | 64.7536 | 69.4419 | 76.9083 | 82.946 | 79.5565 | 75.9225 | 76.578 | 74.6524 | 72.1625 | 66.4173 | 64.6338 | 60.7391 | 57.1642 | 53.8493 | 52.9139 | 50.6938 | 45.6002 | 39.9114 | 87.6287 | 86.6885
SEL | 80.7507 | 81.8201 | 81.1242 | 81.4992 | 89.5315 | 87.6363 | 81.8358 | 77.004 | 75.0892 | 76.8449 | 75.4319 | 77.2051 | 75.5737 | 79.0024 | 83.6908 | 91.1571 | 97.1948 | 93.8054 | 90.1713 | 90.8268 | 88.9012 | 86.4113 | 80.6661 | 78.8826 | 74.9879 | 71.413 | 68.0981 | 67.1627 | 64.9427 | 59.849 | 54.1603 | 101.8776 | 100.9373
Min | 45.8648 | 44.704 | 46.2215 | 43.3312 | 47.9616 | 42.0669 | 40.4032 | 34.0127 | 28.4369 | 25.4711 | 30.5116 | 31.8795 | 37.3628 | 38.4979 | 41.7391 | 46.3206 | 48.7115 | 47.4712 | 45.2947 | 42.5137 | 36.862 | 30.5921 | 25.6942 | 20.2021 | 16.5993 | 16.533 | 15.7401 | 16.6545 | 21.7333 | 26.6966 | 21.3142
Max | 76.314 | 81.5903 | 79.6719 | 80.7804 | 88.0375 | 85.4829 | 81.9889 | 76.9279 | 74.5987 | 77.2311 | 72.7844 | 74.8562 | 73.5216 | 74.7052 | 80.4382 | 87.8867 | 95.4074 | 93.5493 | 87.3754 | 87.8379 | 86.4394 | 84.1588 | 79.9687 | 77.1459 | 73.2099 | 68.4556 | 64.9789 | 63.3549 | 60.7 | 55.7443 | 51.4139
At Max (LIN) | 73.7375 | 69.5661 | 74.1501 | 71.3596 | 83.4669 | 83.6907 | 72.3163 | 66.119 | 69.4404 | 69.4166 | 68.3533 | 73.8092 | 72.0093 | 73.8404 | 79.8659 | 87.6763 | 94.5699 | 93.5493 | 86.9135 | 87.5202 | 83.9847 | 81.983 | 74.8263 | 73.9402 | 69.8917 | 66.5579 | 62.8348 | 61.6973 | 59.6877 | 53.6932 | 46.929 | 99.0242 | 98.4484
At Max (A) | 73.7375 | 69.5661 | 74.1501 | 71.3596 | 83.4669 | 83.6907 | 72.3163 | 66.119 | 69.4404 | 69.4166 | 68.3533 | 73.8092 | 72.0093 | 73.8404 | 79.8659 | 87.6763 | 94.5699 | 93.5493 | 86.9135 | 87.5202 | 83.9847 | 81.983 | 74.8263 | 73.9402 | 69.8917 | 66.5579 | 62.8348 | 61.6973 | 59.6877 | 53.6932 | 46.929 | 99.0242 | 98.4484

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.1754 | 17.636 | 16.0653 | 14.671 | 13.4188 | 11.1909 | 8.2256 | 7.3414 | 7.3999 | 6.2465 | 5.6677 | 6.5011 | 6.8856 | 7.1842 | 7.1923 | 8.376 | 9.8191 | 8.8918 | 9.0047 | 9.2788 | 9.7801 | 10.3364 | 11.0175 | 11.9402 | 12.9476 | 13.8636 | 14.8516 | 15.9647 | 17.0469 | 18.1846 | 19.9723 | 28.642 | 23.9338
SEL | 34.4242 | 31.8848 | 30.3141 | 28.9198 | 27.6676 | 25.4397 | 22.4744 | 21.5903 | 21.6487 | 20.4954 | 19.9165 | 20.7499 | 21.1344 | 21.433 | 21.4411 | 22.6248 | 24.0679 | 23.1406 | 23.2536 | 23.5277 | 24.029 | 24.5852 | 25.2663 | 26.189 | 27.1964 | 28.1124 | 29.1004 | 30.2136 | 31.2957 | 32.4334 | 34.2211 | 42.8908 | 38.1826
Min | 8.0055 | 3.9823 | 3.4301 | 2.2985 | 2.2341 | 1.3574 | -0.11699 | 0.46136 | 1.0325 | 0.20351 | 0.29095 | 2.0616 | 3.2764 | 2.4627 | 4.7668 | 5.8384 | 6.4618 | 7.2386 | 7.8396 | 7.7856 | 8.7583 | 9.3501 | 10.3082 | 11.1408 | 12.0256 | 13.2005 | 14.2161 | 15.1776 | 16.4106 | 17.3479 | 19.3501
Max | 27.3874 | 23.8999 | 22.0854 | 20.7629 | 21.0615 | 17.501 | 14.6198 | 13.0728 | 13.6061 | 14.084 | 13.0321 | 11.475 | 11.9158 | 12.0175 | 11.7686 | 11.0027 | 15.8282 | 13.5324 | 12.3194 | 10.4542 | 11.0726 | 11.3216 | 11.7979 | 12.9216 | 13.7149 | 14.5595 | 15.9275 | 16.7153 | 17.7061 | 19.078 | 20.6555
At Max (LIN) | 27.2473 | 17.5869 | 20.9588 | 18.8198 | 19.9467 | 14.1391 | 10.2569 | 9.7637 | 10.2857 | 8.5063 | 8.5041 | 9.2011 | 10.7691 | 11.2717 | 11.7686 | 9.9043 | 9.9919 | 8.9538 | 8.325 | 9.3646 | 10.1063 | 10.7986 | 11.6225 | 12.2067 | 12.8129 | 14.0088 | 14.9433 | 16.2291 | 16.8975 | 18.1067 | 20.2955 | 31.5889 | 24.2679
At Max (A) | 10.836 | 7.3385 | 9.1435 | 10.6292 | 14.3063 | 14.8281 | 7.1847 | 6.9964 | 4.9437 | 6.7025 | 5.3934 | 6.4378 | 8.7805 | 8.001 | 7.8182 | 10.5523 | 14.5555 | 13.5324 | 12.3194 | 9.6209 | 9.4957 | 10.2908 | 10.9597 | 11.9408 | 12.7544 | 13.5887 | 14.634 | 15.4316 | 16.662 | 17.7529 | 19.3501 | 27.5939 | 24.4966

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.4051 | 19.9002 | 18.66 | 18.8189 | 18.6319 | 18.7613 | 18.8101 | 19.0253 | 20.001 | 20.3826 | 21.2629 | 22.1035 | 22.784 | 23.4392 | 24.2073 | 24.9686 | 25.9036 | 26.3982 | 27.2328 | 28.1305 | 28.9537 | 30.1711 | 30.7787 | 31.8381 | 32.7731 | 33.5566 | 34.5365 | 35.6766 | 36.8389 | 38.0962 | 39.7945 | 46.0481 | 43.3468
SEL | 35.6539 | 34.149 | 32.9088 | 33.0677 | 32.8808 | 33.0101 | 33.059 | 33.2741 | 34.2498 | 34.6314 | 35.5117 | 36.3523 | 37.0328 | 37.6881 | 38.4561 | 39.2174 | 40.1524 | 40.647 | 41.4816 | 42.3793 | 43.2025 | 44.4199 | 45.0275 | 46.087 | 47.0219 | 47.8054 | 48.7854 | 49.9254 | 51.0877 | 52.3451 | 54.0433 | 60.297 | 57.5957
Min | 11.1269 | 7.6648 | 10.4047 | 11.8383 | 10.2998 | 12.1308 | 12.9907 | 13.6522 | 15.549 | 17.1285 | 17.8 | 18.1363 | 19.6909 | 21.2632 | 22.2287 | 22.6111 | 23.9689 | 24.8653 | 25.4976 | 26.5599 | 27.5689 | 28.9224 | 29.2884 | 30.4852 | 31.4445 | 32.3142 | 33.3969 | 34.4763 | 35.8232 | 36.9278 | 38.7635
Max | 27.0685 | 26.3835 | 25.6151 | 26.097 | 23.6256 | 22.795 | 22.9324 | 23.3254 | 24.0437 | 23.4647 | 24.1801 | 25.1992 | 25.6357 | 25.7228 | 26.4107 | 26.9628 | 28.0287 | 28.1865 | 28.5754 | 29.4898 | 30.2344 | 31.5344 | 31.9215 | 32.9161 | 33.5629 | 34.4934 | 35.4698 | 36.9537 | 37.6402 | 39.0137 | 40.5439
At Max (LIN) | 13.7027 | 18.4503 | 19.7866 | 21.2039 | 20.1445 | 18.3576 | 18.0079 | 19.7355 | 20.7103 | 22.1719 | 23.1743 | 22.4882 | 21.8973 | 24.122 | 24.5745 | 24.9883 | 25.954 | 26.8656 | 27.5257 | 28.6197 | 29.3432 | 30.5959 | 31.4463 | 32.7334 | 33.1374 | 33.9485 | 35.2277 | 36.9537 | 37.4877 | 38.51 | 40.3206 | 46.6357 | 43.9518
At Max (A) | 13.7027 | 18.4503 | 19.7866 | 21.2039 | 20.1445 | 18.3576 | 18.0079 | 19.7355 | 20.7103 | 22.1719 | 23.1743 | 22.4882 | 21.8973 | 24.122 | 24.5745 | 24.9883 | 25.954 | 26.8656 | 27.5257 | 28.6197 | 29.3432 | 30.5959 | 31.4463 | 32.7334 | 33.1374 | 33.9485 | 35.2277 | 36.9537 | 37.4877 | 38.51 | 40.3206 | 46.6357 | 43.9518

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 94.1936 | 102.9691 | 100.0634 | 108.7655 | 113.5312 | 116.0067 | 115.3556 | 112.5658 | 109.7618 | 112.0717 | 114.1547 | 116.3262 | 123.7313 | 131.4217 | 136.4664 | 144.6745 | 151.1005 | 148.3404 | 148.1456 | 146.9221 | 140.6595 | 137.8705 | 134.3986 | 136.4556 | 131.8631 | 128.1913 | 132.5638 | 139.5696 | 133.8464 | 126.87 | 125.2785 | 155.8929 | 155.7591
SEL | 108.4424 | 117.2179 | 114.3123 | 123.0143 | 127.78 | 130.2555 | 129.6044 | 126.8146 | 124.0106 | 126.3205 | 128.4035 | 130.575 | 137.9801 | 145.6705 | 150.7152 | 158.9233 | 165.3493 | 162.5892 | 162.3944 | 161.1709 | 154.9083 | 152.1194 | 148.6474 | 150.7044 | 146.1119 | 142.4401 | 146.8126 | 153.8184 | 148.0952 | 141.1189 | 139.5273 | 170.1417 | 170.0079
Min | 54.5912 | 56.5396 | 58.2081 | 58.8356 | 60.7974 | 61.2052 | 61.409 | 63.5123 | 64.9889 | 65.8549 | 65.3037 | 68.7834 | 70.2175 | 70.7489 | 77.1569 | 90.3128 | 92.4795 | 88.192 | 92.4384 | 92.2211 | 77.6701 | 77.7506 | 78.5134 | 79.82 | 80.6458 | 82.9191 | 82.8177 | 91.9872 | 99.7937 | 103.828 | 102.0864
Max | 107.199 | 116.3201 | 112.8892 | 122.6215 | 128.0242 | 132.4804 | 135.314 | 131.3135 | 128.6104 | 130.2654 | 133.1848 | 131.4993 | 138.5378 | 145.7538 | 148.842 | 157.8556 | 162.9769 | 162.9111 | 163.3372 | 159.4033 | 153.3146 | 150.2437 | 147.8917 | 149.3511 | 145.103 | 140.6586 | 143.4556 | 150.7258 | 143.6791 | 135.2877 | 134.5267
At Max (LIN) | 102.5892 | 112.7903 | 108.2937 | 119.0098 | 122.3774 | 132.1083 | 132.3076 | 128.2021 | 122.0077 | 122.4252 | 121.8698 | 125.6843 | 134.1065 | 142.0255 | 146.6207 | 155.8216 | 162.8214 | 162.9111 | 163.3372 | 159.4033 | 152.9613 | 150.2437 | 146.6163 | 149.3511 | 145.0771 | 140.6586 | 143.4556 | 150.5938 | 143.6791 | 135.2877 | 134.1898 | 169.0281 | 169.0888
At Max (A) | 102.5892 | 112.7903 | 108.2937 | 119.0098 | 122.3774 | 132.1083 | 132.3076 | 128.2021 | 122.0077 | 122.4252 | 121.8698 | 125.6843 | 134.1065 | 142.0255 | 146.6207 | 155.8216 | 162.8214 | 162.9111 | 163.3372 | 159.4033 | 152.9613 | 150.2437 | 146.6163 | 149.3511 | 145.0771 | 140.6586 | 143.4556 | 150.5938 | 143.6791 | 135.2877 | 134.1898 | 169.0281 | 169.0888

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.6528 | 86.5058 | 87.2311 | 101.9146 | 100.7676 | 101.4929 | 8.4249 | 0.72531 | 99.1502 | 63.5423 | 98.6115 | 54.1255 | 99.0368 | 55.6832 | 96.6995 | 65.8797 | 95.8814 | 54.6545 | 96.4642 | 55.6832 | 90.1215 | 3.6157 | 100.6024 | 58.0466 | 99.9878 | 45.897 | 100.4303 | 46.9257 | 111.6268 | 110.0961 | 110.6228

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 32.5999 | 23.8581 | 25.3918 | 46.8618 | 38.1199 | 39.6536 | 0.11456 | 1.5337 | 38.0491 | 27.7707 | 24.569 | 23.4367 | 28.7571 | 22.8251 | 34.7603 | 31.0831 | 24.0783 | 23.6668 | 26.6774 | 23.5608 | 24.2013 | 0.34326 | 40.7542 | 26.0028 | 24.8993 | 15.2862 | 31.0295 | 14.8506 | 48.2028 | 38.0707 | 42.3518

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.827 | 43.1922 | 42.0023 | 61.0888 | 57.454 | 56.2642 | -1.0696 | -1.1898 | 47.7997 | 45.9314 | 43.825 | 42.1968 | 42.6342 | 41.1467 | 47.3007 | 46.0164 | 43.6243 | 42.1968 | 42.3951 | 41.1537 | 43.536 | 0.34384 | 48.584 | 37.2589 | 44.1248 | 33.4393 | 42.9469 | 32.3962 | 60.457 | 58.1308 | 56.1497

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 155.7129 | 155.5946 | 155.5709 | 169.9748 | 169.8564 | 169.8327 | -1.2842 | -0.023722 | 168.9369 | 108.4957 | 169.0109 | 103.1975 | 168.8679 | 102.1173 | 165.5562 | 117.5339 | 165.5155 | 116.3512 | 165.4532 | 116.3234 | 160.4448 | 4.8502 | 170.9414 | 114.0844 | 170.9974 | 111.0969 | 170.9312 | 109.7601 | 181.4059 | 181.4828 | 181.4315