## Kode AoR10
Measurement Name | Kode AoR10 (Normal Range)
Time of run | 2019-10-01 15:12:41 (1569939161)
Duration | 47.64 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0427114 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0408408 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0502154 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.82637e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 63.0151 | 62.6467 | 61.8497 | 61.4194 | 64.6499 | 66.3839 | 62.7454 | 59.6321 | 57.3358 | 58.4961 | 60.2947 | 64.4763 | 63.1914 | 67.1484 | 68.3154 | 66.429 | 67.2492 | 67.1526 | 60.2296 | 60.0972 | 59.6957 | 59.8002 | 57.0813 | 53.9129 | 50.6637 | 47.9491 | 44.3491 | 42.2343 | 39.8556 | 34.851 | 31.8608 | 77.4707 | 73.9177
SEL | 79.7911 | 79.4228 | 78.6257 | 78.1955 | 81.4259 | 83.1599 | 79.5215 | 76.4082 | 74.1119 | 75.2722 | 77.0708 | 81.2524 | 79.9674 | 83.9244 | 85.0915 | 83.205 | 84.0252 | 83.9287 | 77.0057 | 76.8732 | 76.4718 | 76.5762 | 73.8573 | 70.689 | 67.4398 | 64.7252 | 61.1252 | 59.0103 | 56.6317 | 51.627 | 48.6368 | 94.2467 | 90.6938
Min | 43.5852 | 41.8548 | 40.9203 | 44.1657 | 45.6267 | 47.5902 | 39.6535 | 40.9486 | 36.8688 | 33.5335 | 26.9978 | 29.615 | 31.3452 | 31.0438 | 32.7706 | 34.1198 | 37.9264 | 38.7501 | 36.9146 | 33.9452 | 29.6857 | 26.3112 | 24.548 | 23.6624 | 23.6069 | 23.5907 | 24.2521 | 25.1747 | 26.1143 | 26.99 | 28.745
Max | 76.6886 | 75.2205 | 73.9746 | 73.1539 | 78.4986 | 79.7768 | 76.8584 | 74.6249 | 69.9837 | 75.2639 | 77.1623 | 77.0471 | 74.0218 | 78.1802 | 80.0143 | 77.9485 | 78.3757 | 82.5018 | 70.8967 | 71.7184 | 71.1951 | 72.3073 | 70.3679 | 65.6449 | 62.8176 | 58.6722 | 55.53 | 52.4742 | 49.6552 | 44.0388 | 42.0905
At Max (LIN) | 64.8443 | 66.6092 | 67.7958 | 73.1539 | 74.0131 | 79.5508 | 73.9397 | 70.8478 | 66.0251 | 75.2639 | 77.1623 | 76.6196 | 73.5967 | 76.8565 | 79.7299 | 77.7009 | 77.2213 | 79.3754 | 70.2634 | 71.7184 | 70.1624 | 70.1574 | 68.6089 | 65.5505 | 60.9311 | 58.1762 | 54.3357 | 51.3047 | 48.2541 | 41.7282 | 36.3222 | 88.7229 | 85.0828
At Max (A) | 65.6199 | 71.7123 | 70.3503 | 69.891 | 71.8422 | 75.42 | 68.5415 | 67.5453 | 69.4469 | 67.395 | 71.1595 | 75.0582 | 74.0094 | 76.9586 | 79.3487 | 76.4213 | 77.2999 | 82.5018 | 69.8331 | 69.5835 | 70.0439 | 67.8285 | 65.5519 | 62.0586 | 58.6027 | 56.9488 | 51.8867 | 50.4793 | 46.9073 | 41.5072 | 34.7048 | 88.0578 | 85.7108

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.5672 | 63.0563 | 62.0489 | 61.3634 | 64.657 | 64.8379 | 61.8053 | 59.7098 | 60.3492 | 60.2925 | 60.0424 | 63.3559 | 64.446 | 66.7585 | 67.8566 | 67.9246 | 68.3742 | 67.535 | 60.7477 | 59.454 | 59.2822 | 58.9302 | 55.8422 | 53.5515 | 51.3957 | 47.4395 | 43.8009 | 41.7372 | 37.8526 | 33.2015 | 31.0985 | 77.5948 | 74.2587
SEL | 79.3433 | 79.8324 | 78.825 | 78.1394 | 81.433 | 81.614 | 78.5814 | 76.4858 | 77.1253 | 77.0686 | 76.8185 | 80.132 | 81.2221 | 83.5346 | 84.6327 | 84.7007 | 85.1503 | 84.3111 | 77.5238 | 76.2301 | 76.0583 | 75.7063 | 72.6183 | 70.3276 | 68.1718 | 64.2156 | 60.5769 | 58.5132 | 54.6287 | 49.9776 | 47.8746 | 94.3708 | 91.0347
Min | 44.906 | 44.0587 | 44.7692 | 45.6603 | 47.4649 | 49.2358 | 43.0608 | 41.4529 | 38.2263 | 36.0271 | 35.9381 | 34.8351 | 36.1549 | 35.5753 | 36.6183 | 38.8176 | 41.5381 | 41.3295 | 39.409 | 36.2326 | 32.4538 | 28.5925 | 26.8007 | 25.1964 | 23.8508 | 24.2264 | 24.7538 | 25.47 | 26.4732 | 27.165 | 28.4363
Max | 77.0811 | 77.1033 | 73.5916 | 72.5816 | 77.4831 | 78.086 | 77.0652 | 73.1934 | 75.0641 | 74.7296 | 75.3475 | 75.7372 | 76.9887 | 77.2368 | 79.4728 | 79.0288 | 79.9894 | 80.7276 | 72.7623 | 70.6618 | 70.4277 | 70.0587 | 68.5974 | 65.3027 | 63.015 | 58.51 | 54.774 | 51.3596 | 46.9899 | 41.258 | 36.2957
At Max (LIN) | 63.3131 | 68.9095 | 64.862 | 65.8426 | 71.8309 | 78.086 | 77.0652 | 71.3533 | 71.8067 | 73.9335 | 73.0353 | 73.3736 | 75.354 | 75.3458 | 78.1977 | 77.9993 | 77.7768 | 78.4601 | 69.7711 | 69.4994 | 69.3899 | 69.1563 | 68.5974 | 65.3027 | 62.6831 | 58.51 | 54.7067 | 51.2358 | 46.6444 | 39.5239 | 35.0898 | 87.9202 | 84.465
At Max (A) | 68.9352 | 68.2048 | 67.7409 | 67.2982 | 69.8665 | 73.1346 | 69.8297 | 66.7782 | 65.9818 | 70.1259 | 71.0084 | 74.5926 | 73.0682 | 75.7773 | 78.1487 | 78.8913 | 78.234 | 80.6786 | 68.2097 | 69.1814 | 69.0616 | 66.2788 | 64.7038 | 62.02 | 59.9378 | 55.8853 | 52.0097 | 49.665 | 44.8393 | 38.639 | 33.4884 | 87.3547 | 85.0276

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.8141 | 62.6455 | 63.438 | 62.5172 | 61.6305 | 62.4492 | 58.9577 | 57.5196 | 56.8259 | 57.7969 | 58.6226 | 65.2232 | 64.6968 | 69.0296 | 74.031 | 77.8321 | 79.3501 | 76.966 | 72.3279 | 70.8959 | 68.8831 | 66.2542 | 62.9353 | 59.6001 | 55.4873 | 52.6093 | 49.8315 | 47.8729 | 48.067 | 45.9921 | 35.8941 | 84.7018 | 83.6542
SEL | 79.5902 | 79.4215 | 80.214 | 79.2933 | 78.4066 | 79.2253 | 75.7337 | 74.2957 | 73.6019 | 74.573 | 75.3986 | 81.9993 | 81.4729 | 85.8057 | 90.8071 | 94.6081 | 96.1262 | 93.742 | 89.1039 | 87.672 | 85.6592 | 83.0302 | 79.7114 | 76.3761 | 72.2634 | 69.3853 | 66.6076 | 64.6489 | 64.8431 | 62.7682 | 52.6702 | 101.4778 | 100.4303
Min | 46.1347 | 44.2135 | 44.5301 | 41.7592 | 44.6052 | 45.4434 | 40.9201 | 37.3842 | 33.7605 | 30.8884 | 29.9549 | 28.9363 | 28.3558 | 29.2913 | 30.0372 | 32.0069 | 33.9953 | 34.6854 | 31.7017 | 28.8819 | 25.1074 | 22.7209 | 22.231 | 22.3805 | 22.7271 | 23.2544 | 24.0138 | 24.6131 | 25.908 | 27.0459 | 28.4204
Max | 73.3849 | 75.1394 | 76.0801 | 73.8088 | 72.4797 | 76.4832 | 70.7551 | 70.0253 | 70.0295 | 72.2542 | 73.1455 | 80.546 | 77.2143 | 81.9408 | 86.8279 | 89.9553 | 91.9335 | 89.4562 | 84.7541 | 83.6417 | 82.1101 | 78.7047 | 76.1713 | 72.2433 | 67.6588 | 64.4506 | 61.4912 | 62.3951 | 64.8913 | 61.5847 | 47.7499
At Max (LIN) | 70.8894 | 72.2031 | 74.2924 | 71.6946 | 71.9563 | 70.9781 | 69.4355 | 69.0409 | 67.9301 | 66.0305 | 70.3048 | 74.698 | 75.4491 | 79.9161 | 84.3406 | 89.9553 | 91.7667 | 89.4562 | 84.4539 | 83.3338 | 81.1874 | 78.6898 | 74.9057 | 71.6955 | 66.7328 | 63.4586 | 59.9462 | 57.4224 | 54.6733 | 47.5806 | 38.2714 | 96.7202 | 95.8872
At Max (A) | 70.8894 | 72.2031 | 74.2924 | 71.6946 | 71.9563 | 70.9781 | 69.4355 | 69.0409 | 67.9301 | 66.0305 | 70.3048 | 74.698 | 75.4491 | 79.9161 | 84.3406 | 89.9553 | 91.7667 | 89.4562 | 84.4539 | 83.3338 | 81.1874 | 78.6898 | 74.9057 | 71.6955 | 66.7328 | 63.4586 | 59.9462 | 57.4224 | 54.6733 | 47.5806 | 38.2714 | 96.7202 | 95.8872

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 92.0044 | 92.7623 | 92.1409 | 90.3631 | 95.8904 | 105.7909 | 112.0652 | 111.547 | 113.3173 | 117.0061 | 119.2109 | 122.0139 | 126.7886 | 130.5241 | 133.0086 | 136.5776 | 136.8931 | 133.7062 | 129.3233 | 128.5131 | 126.7245 | 126.4009 | 123.1786 | 123.0987 | 118.242 | 115.9633 | 119.8444 | 129.9571 | 124.1047 | 117.0563 | 116.8811 | 143.0478 | 141.8451
SEL | 108.7805 | 109.5383 | 108.917 | 107.1392 | 112.6664 | 122.567 | 128.8413 | 128.323 | 130.0933 | 133.7822 | 135.987 | 138.79 | 143.5647 | 147.3001 | 149.7847 | 153.3537 | 153.6691 | 150.4823 | 146.0993 | 145.2892 | 143.5006 | 143.177 | 139.9547 | 139.8748 | 135.018 | 132.7394 | 136.6204 | 146.7332 | 140.8807 | 133.8324 | 133.6572 | 159.8239 | 158.6212
Min | 67.2864 | 69.3202 | 71.0361 | 72.0905 | 70.7401 | 73.5252 | 73.6734 | 75.7429 | 75.1821 | 77.0853 | 78.1663 | 78.8112 | 79.0056 | 80.6495 | 80.6211 | 82.1998 | 82.6033 | 83.6738 | 84.1255 | 85.8509 | 86.5414 | 87.2171 | 88.6062 | 89.7469 | 90.6295 | 91.7737 | 92.8087 | 93.6701 | 95.0394 | 96.2115 | 97.9175
Max | 105.2857 | 106.7663 | 106.4037 | 106.4511 | 115.8553 | 126.3639 | 133.8095 | 131.9513 | 133.9079 | 137.2686 | 139.0024 | 140.7201 | 144.5393 | 143.877 | 147.9994 | 151.0522 | 150.1024 | 147.6397 | 144.099 | 140.1299 | 138.3021 | 138.4469 | 136.9589 | 136.866 | 133.6575 | 129.6728 | 131.8464 | 142.8486 | 135.2632 | 130.5786 | 131.122
At Max (LIN) | 96.0476 | 101.1665 | 100.9829 | 103.6872 | 108.139 | 116.4869 | 123.8711 | 121.6068 | 123.4229 | 126.5084 | 128.3676 | 131.201 | 137.1064 | 142.7873 | 147.0867 | 149.3401 | 150.1024 | 147.6397 | 141.4272 | 139.6939 | 138.3021 | 136.7306 | 135.1926 | 134.2158 | 129.0522 | 126.513 | 130.432 | 140.472 | 134.2554 | 125.979 | 125.3637 | 155.8238 | 154.6402
At Max (A) | 96.0476 | 101.1665 | 100.9829 | 103.6872 | 108.139 | 116.4869 | 123.8711 | 121.6068 | 123.4229 | 126.5084 | 128.3676 | 131.201 | 137.1064 | 142.7873 | 147.0867 | 149.3401 | 150.1024 | 147.6397 | 141.4272 | 139.6939 | 138.3021 | 136.7306 | 135.1926 | 134.2158 | 129.0522 | 126.513 | 130.432 | 140.472 | 134.2554 | 125.979 | 125.3637 | 155.8238 | 154.6402

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.9918 | 73.783 | 76.8447 | 94.7715 | 90.5627 | 93.6244 | 3.1541 | 3.0617 | 88.535 | 60.0056 | 85.7312 | 44.9983 | 88.2368 | 57.5608 | 86.8776 | 63.804 | 83.8825 | 44.9983 | 86.5337 | 60.7165 | 76.4263 | 2.6432 | 91.4839 | 60.628 | 87.3042 | 36.2408 | 88.9014 | 59.2391 | 100.2842 | 97.4979 | 99.1893

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.1078 | 74.1245 | 77.0054 | 94.8875 | 90.9042 | 93.7851 | 8.7425 | 2.8809 | 87.9993 | 62.0635 | 85.1813 | 47.7598 | 87.6381 | 57.3225 | 86.453 | 66.8662 | 83.9047 | 47.7598 | 86.1084 | 61.7141 | 76.4911 | 2.3666 | 90.6568 | 65.6589 | 85.9596 | 39.0023 | 88.6758 | 58.9031 | 100.9311 | 97.4241 | 101.1757

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.6362 | 83.4865 | 84.4352 | 101.4159 | 100.2662 | 101.2149 | 7.9533 | 0.94869 | 96.672 | 56.2932 | 95.893 | 42.0555 | 96.6169 | 49.1197 | 95.3331 | 56.2932 | 94.4278 | 42.9961 | 95.274 | 49.1197 | 86.3259 | 2.8394 | 97.4455 | 47.5357 | 96.6855 | 36.0628 | 97.3691 | 40.3622 | 107.7323 | 106.992 | 107.8818

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 142.8765 | 141.6982 | 142.639 | 159.6562 | 158.4779 | 159.4187 | -0.90212 | 0.9408 | 156.4644 | 105.7337 | 155.1302 | 101.4873 | 156.3768 | 100.5431 | 153.4254 | 105.9164 | 152.2368 | 101.8177 | 153.2648 | 100.711 | 145.842 | 4.1438 | 157.6685 | 97.1614 | 156.3384 | 93.2057 | 157.5782 | 91.9535 | 175.3438 | 170.8138 | 175.0665