## Kode AoR04
Measurement Name | Kode AoR04 (Normal Range)
Time of run | 2019-10-01 12:57:29 (1569931049)
Duration | 38.9 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0427114 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0408408 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0502154 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.82637e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 57.5656 | 57.878 | 62.6936 | 58.7508 | 62.7962 | 65.3524 | 62.5722 | 58.2626 | 55.563 | 56.153 | 59.2058 | 64.3351 | 62.515 | 64.7736 | 64.7128 | 63.9266 | 64.1964 | 61.0308 | 55.8808 | 56.6793 | 55.2963 | 56.1031 | 54.9924 | 51.7786 | 48.1685 | 45.4163 | 42.1934 | 39.749 | 36.9744 | 32.4627 | 30.3425 | 75.0833 | 70.4574
SEL | 73.465 | 73.7775 | 78.5931 | 74.6503 | 78.6957 | 81.2519 | 78.4717 | 74.1621 | 71.4625 | 72.0525 | 75.1053 | 80.2346 | 78.4145 | 80.6731 | 80.6123 | 79.8261 | 80.0958 | 76.9303 | 71.7803 | 72.5788 | 71.1958 | 72.0026 | 70.8919 | 67.6781 | 64.068 | 61.3158 | 58.0929 | 55.6485 | 52.8739 | 48.3622 | 46.242 | 90.9828 | 86.3569
Min | 37.62 | 41.2627 | 41.6066 | 41.9907 | 41.185 | 40.6592 | 37.6059 | 35.2211 | 29.5485 | 25.4166 | 25.5395 | 25.8299 | 26.8593 | 30.634 | 31.6007 | 34.1664 | 37.6603 | 37.6976 | 35.6698 | 32.2847 | 28.2547 | 26.2458 | 24.4998 | 23.3231 | 22.279 | 22.3334 | 23.0961 | 24.5897 | 25.4414 | 26.5662 | 28.534
Max | 70.266 | 69.5248 | 77.8114 | 70.3173 | 75.249 | 79.9152 | 76.9052 | 70.8191 | 70.8689 | 69.505 | 72.406 | 80.3181 | 75.2446 | 77.3052 | 76.2287 | 76.3126 | 75.4657 | 73.4557 | 67.6093 | 69.2479 | 68.2586 | 68.8939 | 69.2399 | 65.6794 | 61.1004 | 57.4736 | 54.5253 | 51.4042 | 47.4735 | 41.494 | 36.4984
At Max (LIN) | 55.3446 | 60.6953 | 67.9053 | 68.0211 | 69.9877 | 79.9152 | 76.9052 | 70.062 | 66.1214 | 68.27 | 70.5826 | 77.4168 | 72.4032 | 77.2135 | 75.9863 | 76.3126 | 75.2073 | 73.1774 | 67.6093 | 69.1607 | 68.2586 | 68.8481 | 67.2326 | 63.9777 | 59.4149 | 57.3693 | 53.7853 | 50.6984 | 46.7267 | 41.2574 | 35.7619 | 87.0167 | 82.4036
At Max (A) | 55.3446 | 60.6953 | 67.9053 | 68.0211 | 69.9877 | 79.9152 | 76.9052 | 70.062 | 66.1214 | 68.27 | 70.5826 | 77.4168 | 72.4032 | 77.2135 | 75.9863 | 76.3126 | 75.2073 | 73.1774 | 67.6093 | 69.1607 | 68.2586 | 68.8481 | 67.2326 | 63.9777 | 59.4149 | 57.3693 | 53.7853 | 50.6984 | 46.7267 | 41.2574 | 35.7619 | 87.0167 | 82.4036

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 56.3929 | 57.1629 | 61.2874 | 57.5988 | 61.5563 | 63.0573 | 60.8311 | 57.3371 | 59.3028 | 58.9956 | 58.9466 | 63.0512 | 63.9461 | 64.3421 | 64.2416 | 65.6046 | 65.8001 | 62.1571 | 56.275 | 55.6551 | 55.2406 | 55.6286 | 53.4694 | 51.4474 | 49.3191 | 44.9922 | 41.3622 | 38.923 | 35.229 | 31.3751 | 30.3618 | 74.9779 | 71.0665
SEL | 72.2924 | 73.0624 | 77.1869 | 73.4983 | 77.4558 | 78.9568 | 76.7306 | 73.2366 | 75.2023 | 74.8951 | 74.8461 | 78.9507 | 79.8456 | 80.2416 | 80.1411 | 81.5041 | 81.6996 | 78.0566 | 72.1744 | 71.5546 | 71.1401 | 71.5281 | 69.3689 | 67.3469 | 65.2186 | 60.8917 | 57.2617 | 54.8225 | 51.1285 | 47.2746 | 46.2613 | 90.8774 | 86.966
Min | 41.0005 | 41.9974 | 47.721 | 41.7143 | 43.6691 | 45.8471 | 41.2864 | 37.1056 | 36.4548 | 34.704 | 32.1654 | 33.1727 | 32.6577 | 33.7493 | 35.5631 | 38.6755 | 41.6714 | 41.4388 | 39.3566 | 34.6042 | 31.7058 | 28.9212 | 26.5969 | 25.0879 | 23.2651 | 23.4572 | 24.1066 | 25.0252 | 26.2193 | 27.379 | 28.9569
Max | 65.6152 | 67.2492 | 73.5826 | 68.5728 | 73.7983 | 75.3059 | 73.5844 | 70.8672 | 72.3489 | 72.9796 | 72.7197 | 76.6841 | 76.406 | 76.6871 | 75.2606 | 77.871 | 77.5364 | 73.8905 | 68.533 | 67.7085 | 67.4778 | 68.5228 | 66.8595 | 65.2042 | 62.366 | 56.6568 | 53.5811 | 49.7705 | 45.7932 | 40.1509 | 35.4054
At Max (LIN) | 53.1492 | 63.613 | 68.8772 | 65.9627 | 67.6182 | 74.7836 | 73.2113 | 68.5114 | 71.9549 | 72.0974 | 71.4443 | 76.3117 | 75.5922 | 76.6871 | 74.6491 | 77.871 | 77.5364 | 72.8926 | 68.533 | 67.1573 | 67.3567 | 67.7491 | 64.0709 | 62.7535 | 60.2887 | 56.0784 | 52.4685 | 49.0126 | 44.5002 | 37.9552 | 33.6971 | 86.4943 | 82.775
At Max (A) | 53.1492 | 63.613 | 68.8772 | 65.9627 | 67.6182 | 74.7836 | 73.2113 | 68.5114 | 71.9549 | 72.0974 | 71.4443 | 76.3117 | 75.5922 | 76.6871 | 74.6491 | 77.871 | 77.5364 | 72.8926 | 68.533 | 67.1573 | 67.3567 | 67.7491 | 64.0709 | 62.7535 | 60.2887 | 56.0784 | 52.4685 | 49.0126 | 44.5002 | 37.9552 | 33.6971 | 86.4943 | 82.775

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 60.557 | 61.3224 | 63.9399 | 59.6073 | 60.3286 | 60.3214 | 58.394 | 55.9352 | 55.0255 | 56.6653 | 58.8685 | 65.3445 | 65.1228 | 68.0686 | 71.2633 | 73.378 | 74.3573 | 70.367 | 67.5174 | 64.5557 | 61.9906 | 60.8443 | 58.6478 | 55.0486 | 52.2503 | 49.0739 | 45.8112 | 43.2441 | 40.3424 | 36.685 | 31.7663 | 80.4034 | 78.6285
SEL | 76.4565 | 77.2219 | 79.8394 | 75.5068 | 76.2281 | 76.2209 | 74.2935 | 71.8347 | 70.925 | 72.5648 | 74.768 | 81.244 | 81.0223 | 83.9681 | 87.1628 | 89.2775 | 90.2568 | 86.2665 | 83.4169 | 80.4552 | 77.8901 | 76.7438 | 74.5473 | 70.9481 | 68.1498 | 64.9734 | 61.7107 | 59.1436 | 56.2419 | 52.5845 | 47.6658 | 96.3029 | 94.528
Min | 45.9508 | 46.6867 | 47.4953 | 41.8362 | 40.6958 | 41.9437 | 37.4883 | 34.0713 | 30.5855 | 27.7913 | 23.6774 | 26.5901 | 26.1316 | 27.1402 | 28.6893 | 31.6734 | 33.214 | 34.081 | 31.8351 | 27.9802 | 23.9816 | 22.3445 | 21.6966 | 22.0218 | 22.3757 | 23.2142 | 24.0949 | 25.0542 | 25.6441 | 26.8927 | 28.2653
Max | 70.9413 | 73.795 | 78.1887 | 70.7816 | 72.3299 | 75.1244 | 71.9528 | 68.0202 | 67.6295 | 69.866 | 73.9932 | 80.8116 | 80.6098 | 81.6037 | 86.006 | 87.1125 | 87.5082 | 82.9637 | 81.1852 | 79.2559 | 75.6714 | 73.9207 | 72.713 | 68.2007 | 67.1936 | 62.0466 | 58.3712 | 55.724 | 52.0873 | 51.1318 | 40.6577
At Max (LIN) | 63.4792 | 67.4468 | 75.7238 | 69.9864 | 72.0969 | 69.2953 | 64.8804 | 63.7305 | 64.041 | 68.8732 | 68.667 | 78.1433 | 76.7964 | 80.1682 | 86.006 | 86.7935 | 86.6167 | 82.5421 | 80.0165 | 77.0704 | 74.966 | 72.029 | 67.9045 | 65.327 | 61.5759 | 58.8985 | 55.6436 | 53.7191 | 49.6026 | 42.3722 | 34.2033 | 93.109 | 91.3772
At Max (A) | 63.4792 | 67.4468 | 75.7238 | 69.9864 | 72.0969 | 69.2953 | 64.8804 | 63.7305 | 64.041 | 68.8732 | 68.667 | 78.1433 | 76.7964 | 80.1682 | 86.006 | 86.7935 | 86.6167 | 82.5421 | 80.0165 | 77.0704 | 74.966 | 72.029 | 67.9045 | 65.327 | 61.5759 | 58.8985 | 55.6436 | 53.7191 | 49.6026 | 42.3722 | 34.2033 | 93.109 | 91.3772

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 90.5339 | 89.854 | 90.2373 | 92.2863 | 100.1604 | 109.0695 | 115.1234 | 116.0185 | 115.0655 | 116.494 | 119.7987 | 122.5413 | 126.4948 | 129.6837 | 131.1027 | 133.828 | 134.1155 | 131.3862 | 126.7229 | 125.123 | 123.4096 | 124.0998 | 121.619 | 121.9078 | 116.6398 | 113.8694 | 117.0204 | 126.9669 | 121.1951 | 113.501 | 113.2904 | 140.7315 | 139.3261
SEL | 106.4333 | 105.7535 | 106.1368 | 108.1857 | 116.0599 | 124.969 | 131.0229 | 131.918 | 130.965 | 132.3935 | 135.6982 | 138.4408 | 142.3943 | 145.5832 | 147.0022 | 149.7275 | 150.015 | 147.2858 | 142.6224 | 141.0225 | 139.3091 | 139.9993 | 137.5185 | 137.8073 | 132.5393 | 129.7689 | 132.9199 | 142.8664 | 137.0946 | 129.4005 | 129.1899 | 156.631 | 155.2256
Min | 69.8316 | 70.3109 | 72.3396 | 72.8217 | 73.3335 | 72.8208 | 73.3741 | 74.5113 | 76.4498 | 76.8149 | 78.4292 | 78.5935 | 77.6562 | 80.9528 | 81.558 | 82.5682 | 83.277 | 84.0318 | 84.7824 | 85.8916 | 86.5657 | 88.118 | 88.963 | 89.7363 | 90.6548 | 91.9635 | 92.9216 | 94.1149 | 95.3527 | 96.4158 | 98.0341
Max | 103.8497 | 104.1323 | 109.6494 | 110.7091 | 120.9569 | 129.7481 | 135.8441 | 137.3989 | 134.5341 | 136.3369 | 139.0676 | 141.0707 | 142.8697 | 147.4105 | 146.4667 | 150.3577 | 148.7878 | 146.7204 | 140.8967 | 137.6989 | 136.8135 | 137.9254 | 135.8565 | 136.945 | 131.5156 | 128.1898 | 130.0119 | 140.5035 | 133.4982 | 124.325 | 124.3158
At Max (LIN) | 91.6555 | 94.2057 | 101.9699 | 110.7091 | 113.6464 | 124.5 | 130.7881 | 131.2773 | 132.8728 | 136.3369 | 139.0676 | 138.7237 | 141.74 | 145.8846 | 146.1558 | 150.3577 | 148.7878 | 146.7204 | 140.8967 | 135.9163 | 135.3712 | 136.9631 | 135.4212 | 135.9299 | 129.4506 | 126.6223 | 129.1469 | 138.7423 | 133.0494 | 123.8903 | 123.3346 | 155.9654 | 154.2286
At Max (A) | 91.6555 | 94.2057 | 101.9699 | 110.7091 | 113.6464 | 124.5 | 130.7881 | 131.2773 | 132.8728 | 136.3369 | 139.0676 | 138.7237 | 141.74 | 145.8846 | 146.1558 | 150.3577 | 148.7878 | 146.7204 | 140.8967 | 135.9163 | 135.3712 | 136.9631 | 135.4212 | 135.9299 | 129.4506 | 126.6223 | 129.1469 | 138.7423 | 133.0494 | 123.8903 | 123.3346 | 155.9654 | 154.2286

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.2512 | 70.3119 | 74.4373 | 91.1507 | 86.2114 | 90.3368 | 5.3528 | 4.1255 | 87.0978 | 58.659 | 82.3991 | 44.3654 | 86.7426 | 52.1883 | 85.027 | 60.891 | 80.5226 | 45.2708 | 84.6363 | 56.1796 | 73.1758 | 2.864 | 88.5419 | 55.3714 | 83.1275 | 37.85 | 88.031 | 49.3847 | 98.3321 | 93.6331 | 97.865

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.1137 | 70.9331 | 74.458 | 91.0132 | 86.8326 | 90.3575 | 1.6835 | 3.5249 | 86.4196 | 58.8775 | 82.6759 | 47.8677 | 86.1631 | 56.0737 | 84.4787 | 61.3271 | 80.6321 | 48.2658 | 84.1816 | 57.833 | 73.884 | 2.9509 | 87.0784 | 55.7469 | 83.3505 | 39.517 | 86.8436 | 52.6423 | 98.1991 | 95.5919 | 98.6806

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 80.4788 | 78.5105 | 80.0965 | 96.3783 | 94.41 | 95.996 | 11.9153 | 1.586 | 93.1477 | 58.8656 | 91.6841 | 41.0482 | 93.0524 | 53.4039 | 91.6144 | 62.8743 | 89.9922 | 41.9507 | 91.5031 | 57.1684 | 81.7401 | 3.2296 | 94.1084 | 62.7027 | 92.6164 | 42.7497 | 94.0336 | 49.7335 | 105.7207 | 102.5145 | 106.0903

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 140.5826 | 139.2303 | 140.3726 | 156.4821 | 155.1298 | 156.2721 | -1.1609 | 1.1423 | 156.0102 | 105.8751 | 154.364 | 101.778 | 155.9237 | 100.9692 | 152.0027 | 105.8861 | 150.6268 | 102.3411 | 151.8342 | 101.5079 | 144.7385 | 5.5082 | 157.9074 | 97.1301 | 155.9719 | 93.9108 | 157.8087 | 92.7864 | 173.7403 | 170.2642 | 173.4524